## Slide 1
07/30/26
Dr. Adnan Jaran
<number>
بسم الله الرحمن الرحيم
Al-Imam Mohammed Bin Saud University
College of Medicine

## Slide 2: PRINCIPLES OF DISEASE I BLOCK (PATH 122) Credit Hours: 6 (2+2+2)
MICROBIOLOGY
Adnan S. Jaran BSc. MSc. PhD. AIBMS.
07/30/26
Dr. Adnan Jaran
<number>

## Slide 3: Principles of sterilization and disinfection
07/30/26
Dr. Adnan Jaran
<number>

## Slide 4: Objectives
Define Sterilization, Disinfection, Antiseptics, Sanitization and Pasteurization
Know Factors that influence efficacy of disinfection/sterilization
Know the Methods used in sterilization
Know Biological Monitors
Know the Methods used to sterilize liquids and heat sensitive materials
07/30/26
Dr. Adnan Jaran
<number>

## Slide 5: Inhibition growth of microbes in vitro
07/30/26
Dr. Adnan Jaran
<number>
A. Sterilization: is the complete destruction of all living microbes including cells, spores and viruses.
Sterilization could be accomplished by different methods:
1. Dry heat
2. Autoclaving (steam under pressure)
3. Gas (ethlene oxide)
3. Chemical methods: by formaldehyde
4. Radiation: by ultraviolet light and gamma rays
Notes: <number>

## Slide 6
07/30/26
Dr. Adnan Jaran
<number>
B. Disinfection: is the destruction or removal of most pathogens from living objects by physical and chemical methods
Disinfectants: chemicals used to disinfect inanimate objects e.g. bedside equipment and operating rooms.
Disinfectants are strong chemical substances that cannot be used in living tissue
Antiseptics: are solutions used to disinfect skin and other living tissues
Sanitization: is the reduction of microbial populations to levels considered safe by public health standards e.g. such as those applied to restaurants
Notes: <number>

## Slide 7
07/30/26
Dr. Adnan Jaran
<number>
Pasteurization: is a method of disinfecting liquids by heat, e.g. milk and beverages pasteurization
Pasteurization: is a process by which milk is heated to a point which kill all potential pathogens and then cooling to discourage growth of remaining M.O.
Two methods were followed: slow pasteurization, milk is heated to 62.78o C for 30 minutes. In flash method milk is heated to 71.67o C for 15 seconds. The milk in both methods then cooled to +4o C abruptly.
Notes: <number>

## Slide 8
07/30/26
Dr. Adnan Jaran
<number>
Germicidal agents, biocidal agents, microbicidal agents are disinfectants that kill bacteria but not necessarily endospores
Sporicidal agents are required to kill bacterial endospores
Fungicidal: kill fungi including fungal spores
Algicidal agents: are used to kill algae in swimming pools
Viricidal agents: destroy viruses
Microbistatic agents: is a drug or chemicals that inhibits growth and reproduction of microorganisms
Notes: <number>

## Slide 9
07/30/26
Dr. Adnan Jaran
<number>
A bacteriostatic agents: is the drug which inhibits the metabolism and reproduction of bacteria (drugs used to treat bacterial diseases are bacteriostatic or bacteriocidal)
Lyophilization: is the process that combines dehydration (drying) and freezing. It’s a microbistatic technique used to prevent microbes from reproducing and used for storage purpose e.g. microbes, vaccines, antibiotics, antisera, food…
Notes: <number>

## Slide 10
07/30/26
Dr. Adnan Jaran
<number>
Sepsis: refers to the presence of pathogens in blood or tissues
Asepsis: means the absence of pathogens
Aseptic techniques: used to eliminate pathogens e.g. hand washing, use of sterile gloves, masks and gowns, sterilization of surgical instruments, use of disinfectants and antiseptics
Antisepsis: is the prevention of infection
Notes: <number>

## Slide 11: How can microorganisms be killed?
Denaturation of proteins (e.g. wet heat, ethylene oxide)
Oxidation (e.g. dry heat, hydrogen peroxide)
Filtration
Interruption of DNA synthesis/repair (e.g. radiation)
Interference with protein synthesis (e.g. bleach)
Disruption of cell membranes (e.g. phenols)
07/30/26
<number>
Dr. Adnan Jaran

## Slide 12: Ideal sterilization/disinfection process
Highly efficacious
Fast
Good penetrability
Compatible with all materials
Non-toxic
Effective despite presence of organic material
Difficult to make significant mistakes in process
Easily monitored
07/30/26
<number>
Dr. Adnan Jaran

## Slide 13
07/30/26
Dr. Adnan Jaran
<number>
Methods used to destroy or inhibit microbial life are either physical or chemical
Physical Methods:
Heat:
Is an efficient, practical and inexpensive method of sterilization. Two factors; temperature and time, determine the effectiveness of heat for sterilization
Thermal death point (TDP): of a microorganism is the lowest temperature that will kill all the organisms in a standardized pure culture within a specified period.
Thermal death time (TDT): is the time necessary to sterilize a pure culture at a specified temperature
Notes: <number>

## Slide 14
07/30/26
Dr. Adnan Jaran
<number>
Dry Heat: by oven used to sterilize metals, glassware at 160-165o C for two hours or at 170-180o C for one hour
Incineration (burning) is an effective means of destroying contaminated materials by using incinerator
Flaming: the surface of metal forceps and wire bacteriological loops is an effective way to kill microorganisms
Notes: <number>

## Slide 15
07/30/26
Dr. Adnan Jaran
<number>
Moist Heat:
Boiling: at 100o C kill vegetative microorganisms and viruses within 30 minutes. Syringes, needles and simple instruments may be disinfected by boiling
some spores are killed at 100o C for 30 minutes, but other are not killed even if it’s boiled for several hours, e.g. Clostridium tetani, gas gangrene, botulism and hepatitis viruses.
Notes: <number>

## Slide 16
07/30/26
Dr. Adnan Jaran
<number>
Steam under pressure (Autoclaving): an autoclave is a large metal pressure cooker that use steam under pressure to completely destroy all microbial life. Autoclaving at a pressure of 15 pounds per square inch (psi), at a temperature of 121.5о C for 20 minutes kills vegetative and bacterial endospores and viruses as long as they are not protected by pus, feces, vomitus and blood.
Used for sterilization of bacteriological media
Notes: <number>

## Slide 17
07/30/26
Dr. Adnan Jaran
<number>
Steaming (Tyndallization): used for liquids which are destroyed by autoclaving e.g. sugar solutions
Using of hot water (>60o C) with detergents or soup with agitation is an effective way to disinfect clothing, bedding and dishes
Ultraviolet Light:
Direct sunlight kills unprotected vegetative organisms, but spores are resistant. The bactericidal activity of sunlight is caused by ultraviolet portion of spectrum. Glass is not proper to UV radiation.
Sunshine destroys pathogens contaminated fields, pastures and areas used by livestock. The rays of the sun include the long infrared (heat) rays, the visible light rays and the shorter ultraviolet (UV) rays
Notes: <number>

## Slide 18
07/30/26
Dr. Adnan Jaran
<number>
UV light is of 2500 angstroms wavelength and used widely in inoculating hoods, operating theaters and microbial lab. To reduce airborne infections. It acts most efficiently at temperature from 27o C to 40o C. UV light causes error in replication of DNA. UV radiation cross-link between adjacent pyramidines on the one and another strands forming pyramidines dimers. Its mutagenic activity on living cells is well known.
UV light does not penetrate glass and building materials and effective only in air and on surfaces
Notes: <number>

## Slide 19
07/30/26
Dr. Adnan Jaran
<number>
Ionizing Radiation:
This form of radiation has an energy content much higher than that of UV light and has a stronger disinfectant action.
Gamma rays emitted from Cobalt_60 are used commercially to sterilize disposable syringes, needles, pipettes, surgical sutures, catheters, plastic petri-dishes and other heat sensitive items.
In food, it’s not used because it change food flavours and it’s not used in sterilizing enzymes, hormones, drugs because potency may reduced. Ionizing radiation produce breaks in single and double strand DNA.
Radiation induce DNA lesion, kill the cells by interfering with DNA replication.
Notes: <number>

## Slide 20
07/30/26
Dr. Adnan Jaran
<number>
Filtration:
Filters of various pore sizes are used to filter or separate cells, large viruses, bacteria from liquids or gases in which they are suspended
Filters with tiny pore sizes called millipore filters are used in laboratories to filter bacteria and viruses out of liquids
HEPA filters are used in biological safety cabinets to protect workers and the environment from contamination
Notes: <number>

## Slide 21
07/30/26
Dr. Adnan Jaran
<number>
How disinfectants kill microorganisms:
1. Surface active soaps and detergents, alcohols and phenolic compounds destroy cell membranes
2. Halogens, hydrogen peroxide, formaldehyde and ethylene oxide destroy enzymes and structural proteins
3. Salts of heavy metals like organic mercury compounds, e.g. Mercurochrome and Thimersal have slight bactericidal activity. Mercuric chloride and silver nitrate are used as antiseptic in a dilution of (1:1000).
Notes: <number>

## Slide 22: Biological Monitors
Steam: Geobacillus stearothermophilus
Dry heat: B. atrophaeus (formerly B. subtilis)
ETO: B. atropheus
Peracetic acid: G. stearothermophilus
Plasma (Sterrad): G. stearothermophilus
Ontario guidelines:
  Steam: monitor daily, every load with implantables
  ETO: monitor every load
07/30/26
<number>
Dr. Adnan Jaran

## Slide 23
07/30/26
Dr. Adnan Jaran
<number>
Chemical Agents:
Disinfectants should be safe in use, it should be non-toxic, has no irritating vapour, staining properties and corrosive effects.
It should be water soluble, stable in aqueous solution and maintain potency for long period of time.
It should have a wide or broad antimicrobial spectrum, fast acting
It should not be affected by presence of organic matter
It should be inexpensive and odorless
Notes: <number>

## Slide 24
07/30/26
Dr. Adnan Jaran
<number>
Factors that influence efficacy of disinfection/sterilization
1. Prior cleaning of the object or surface to be disinfected
2. Presence of organic matters e.g. feces, blood,
vomitus, pus
3. The type and level of microbial contamination
4. The concentration of the disinfectant
5. The contact time
6. The physical nature of the object being disinfected;
smooth, rough
7. Temperature and pH
Notes: <number>